## Slide 2
PCEE
PCEE
PCEE
BI
TMD
Conductors
Conductors
Conductors
Conductors
Conductors
Conductors
(a) PCEE
(b) BI only
(c) TMD only
(d) Proposed BI-TMD (Schematic installation position)
Support
Support
Support
PCEE
PCEE
PCEE
TMD
(Schematic)
BI
(Schematic)
Install
Install

## Slide 3
220kV Current Transformer
220kV SF6 circuit breaker
220kV Potential Transformer
Simplified overall model
f1
Given three frequency values:
4.6 Hz, 2.3 Hz and 1.4 Hz
Regarded as an overall structure
Equipment 1
Equipment 2
Equipment 3
f1=4.6 Hz
f1=2.3 Hz
f1=1.4 Hz
(a) Representative PCEEs
(b) Simplified model
(c) Given frequencies for the simplified model

## Slide 4
PCEE
4.6 Hz
2.3 Hz
1.4 Hz
Sub-BI
Period
1.5 s
2.5 s
3.5 s
Sub-TMD
Mass ratio
50 %
100%
200%
Sub-TMD
frequency
0.50 fBI
0.75 fBI
1.00 fBI
Ground motion
Chichi
……
Kobe